## nrel_units
nrel_unit | nrel_count | unit_type | machine_name | display_name | symbol | symbol_alt | note
amperes | 1363 | electric current | ampere | ampere | A
btus | 20 | energy | btu | btu | BTU
btus per hour | 28 | power | btus_per_hour | btus per hour | BTU/h
btus per pound | 1 | enthalpy | btu_per_pound | btu per pound | BTU/lb
C | 2 | temperature | celsius | celsius | °C
cubic feet per minute | 3488 | volumetric flow | cubic_feet_per_minute | cubic feet per minute | cfm
degrees angular | 570 | dimensionless | degrees_angular | degrees angular | deg
degrees celsius | 188 | temperature | celsius | celsius | °C
degrees fahrenheit | 9747 | temperature | fahrenheit | fahrenheit | °F |  | Verify that this is not temperature differential
feet per minute | 31 | velocity | feet_per_minute | feet per minute | ft/min
grams of water per kilogram dry air | 1 | dimensionless | grams_of_water_per_kilogram_dry_air | grams of water per kilogram dry air | gH₂O/kgAir
hertz | 462 | frequency | hertz | hertz | Hz
hours | 161 | time | hour | hour | hr | h
imperial gallons per minute | 1 | volumetric flow | imperial_gallons_per_minute | imperial gallons per minute | galUK/min
inches | 392 | length | inch | inch | in
inches of water | 424 | pressure | inches_of_water | inches of water | inH₂O
kilovolt amperes | 37 | apparent power | kilovolt_ampere | kilovolt ampere | kVA
kilovolt amperes reactive | 61 | reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR
kilowatt hours | 209 | energy | kilowatt_hour | kilowatt hour | kWh
kilowatts | 258 | power | kilowatt | kilowatt | kW
klux | 1 | illuminance | kilolux | klux | klx
kW | 359 | power | kilowatt | kilowatt | kW
kw | 0 | power | kilowatt | kilowatt | kW
kW/m^2 | 1 | power by area | kilowatts_per_square_meter | kilowatts per square meter | kW/m²
kwH | 0 | energy | kilowatt_hour | kilowatt hour | kWh
kWh | 92 | energy | kilowatt_hour | kilowatt hour | kWh
kVA | 0 | apparent power | kilovolt_ampere | kilovolt ampere | kVA
kVAR | 0 | reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR
m | 1 | length | meter | meter | m
mBar | 1 | pressure | millibar | millibar | mbar
megawatt hours | 37 | energy | megawatt_hour | megawatt hour | MWh
miles per hour | 4 | velocity | miles_per_hour | miles per hour | mph
milliamperes | 73 | electric current | milliampere | milliampere | mA
millibars | 1 | pressure | millibar | millibar | mbar
minutes | 806 | time | minute | minute | min
mm | 1 | length | millimeter | millimeter | mm
null | 19418 | undefined | undefined | undefined | undefined
on/off | 0 | state | on_off | binary | on/off
parts per million | 875 | dimensionless | parts_per_million | parts per million | ppm
per hour | 1 | frequency | per_minute | per minute | /min
per minute | 1 | frequency | per_hour | per hour | /h
percent | 7056 | dimensionless | percent | percent | %
percent relative humidity | 246 | dimensionless | percent_relative_humidity | percent relative humidity | %RH
percentage | 328 | dimensionless | percent | percent | %
pounds force per square inch | 199 | pressure | pounds_per_square_inch | pounds per square inch | psi
pounds mass per minute | 2 | mass flow | pounds_per_minute | pounds per minute | lb/min
power factor | 366 | dimensionless | power_factor | power factor | pf
pf | 366 | dimensionless | power_factor | power factor | pf
revolutions per minute | 56 | angular velocity | revolutions_per_minute | revolutions per minute | rpm
seconds | 2793 | time | second | second | sec | s
square feet | 2 | area | square_foot | square foot | ft²
square meters | 6 | area | square_meter | square meter | m²
ton hours | 2 | energy | tons_refrigeration_hour | tons refrigeration hour | tonrefh
tons | 4 | mass | short_ton | short ton | t
Unknown: 10259 | 2 | undefined | undefined | undefined | undefined
Unknown: 256 | 1 | undefined | undefined | undefined | undefined
us gallons | 31 | volume | gallon | gallon | gal
us gallons per minute | 85 | volumetric flow | gallons_per_minute | gallons per minute | gal/min
VA | 82 | apparent power | volt_ampere | volt ampere | VA
VAR | 82 | reactive power | volt_ampere_reactive | volt ampere reactive | VAR
volt amperes | 324 | apparent power | volt_ampere | volt ampere | VA
volt amperes reactive | 324 | reactive power | volt_ampere_reactive | volt ampere reactive | VAR
volts | 1235 | electric potential | Volt | Volt | V
W/m^2 | 3 | power by area | watts_per_square_meter | watts per square meter | W/m²
watt hours | 678 | energy | watt_hour | watt hour | Wh
watts | 429 | power | watt | watt | W
Wh | 82 | energy | watt_hour | watt hour | Wh

## haystack_definitions
Unit Type | Machine Name | Name | Symbol | Symbol Alias | Notes
dimensionless | percent | percent | %
dimensionless | pixel | pixel | px
dimensionless | decibel | decibel | db
dimensionless | power_factor | power factor | pf
dimensionless | pH | pH | pH
dimensionless | percent_relative_humidity | percent relative humidity | %RH
dimensionless | grams_of_water_per_kilogram_dry_air | grams of water per kilogram dry air | gH₂O/kgAir
dimensionless | volts_per_degree_kelvin | volts per degree kelvin | V/K
dimensionless | degree_days_celsius | degree days celsius | °daysC
dimensionless | degree_days_fahrenheit | degree days fahrenheit | °daysF
dimensionless | percent_obscuration_per_foot | percent obscuration per foot | %obsc/ft
dimensionless | percent_obscuration_per_meter | percent obscuration per meter | %obsc/m
dimensionless | psi_per_degree_fahrenheit | psi per degree fahrenheit | psi/°F
dimensionless | square_meters_per_newton | square meters per newton | m²/N
dimensionless | watts_per_square_meter_degree_kelvin | watts per square meter degree kelvin | W/m²K
dimensionless | ampere_square_meter | ampere square meter | Am²
dimensionless | db_milliVolt | db milliVolt | dBmV
dimensionless | db_microVolt | db microVolt | dBuV
dimensionless | parts_per_unit | parts per unit | ppu
dimensionless | parts_per_million | parts per million | ppm
dimensionless | parts_per_billion | parts per billion | ppb
dimensionless | grams_per_kilogram | grams per kilogram | g/kg
dimensionless | radian | radian | rad
dimensionless | degrees_angular | degrees angular | deg
dimensionless | degrees_phase | degrees phase | degPh
dimensionless | steradian | steradian | sr
dimensionless | nephelometric_turbidity_units | nephelometric turbidity units | ntu
dimensionless | formazin_nephelometric_unit | formazin nephelometric unit | fnu
dimensionless | percent_opaque_cloud_cover | percent opaque cloud cover | % |  | NL: added
dimensionless | percent_total_cloud_cover | percent total cloud cover | % |  | NL: added
currency | australian_dollar | australian dollar | AUD
currency | british_pound | british pound | GBP | £
currency | canadian_dollar | canadian dollar | CAD
currency | chinese_yuan | chinese yuan | CNY | 元
currency | euro | euro | EUR | €
currency | indian_rupee | indian rupee | INR
currency | japanese_yen | japanese yen | JPY | ¥
currency | russian_ruble | russian ruble | RUB | руб
currency | south_korean_won | south korean won | KRW | ₩
currency | swedish_krona | swedish krona | SEK | kr
currency | swiss_franc | swiss franc | CHF | Fr
currency | taiwan_dollar | taiwan dollar | TWD
currency | us_dollar | us dollar | USD | $
acceleration | meters_per_second_squared | meters per second squared | m/s²
angular acceleration | radians_per_second_squared | radians per second squared | rad/s²
angular momentum | joule_second | joule second | Js
angular velocity | radians_per_second | radians per second | rad/s
angular velocity | revolutions_per_minute | revolutions per minute | rpm
area | square_meter | square meter | m²
area | square_millimeter | square millimeter | mm²
area | square_centimeter | square centimeter | cm²
area | square_kilometer | square kilometer | km²
area | square_inch | square inch | in²
area | square_foot | square foot | ft²
area | square_yard | square yard | yd²
area | square_mile | square mile | mile²
area | acre | acre | acre
capacitance | farad | farad | F
cooling efficiency | coefficient_of_performance | coefficient of performance | COP
cooling efficiency | kilowatt_per_ton | kilowatt per ton | kW/ton
cooling efficiency | energy_efficiency_ratio | energy efficiency ratio | Btu/Wh | EER
density | kilograms_per_cubic_meter | kilograms per cubic meter | kg/m³
electric charge | coulomb | coulomb | C
electric conductance | siemens | siemens | S
electric current | ampere | ampere | A
electric current | milliampere | milliampere | mA
electric current density | amperes_per_square_meter | amperes per square meter | A/m²
electric field strength | volts_per_meter | volts per meter | V/m
electric potential | Volt | Volt | V
electric potential | milliVolt | milliVolt | mV
electric potential | kiloVolt | kiloVolt | kV
electric potential | megaVolt | megaVolt | MV
electric resistance | ohm | ohm | Ω | Ω
electric resistance | kilohm | kilohm | kΩ | kΩ
electric resistance | megohm | megohm | MΩ | MΩ
electric resistance | milliohm | milliohm | mΩ | mΩ
electrical conductivity | siemens_per_meter | siemens per meter | S/m
electrical resistivity | ohm_meter | ohm meter | Ωm | Ωm
energy | joule | joule | J
energy | kilojoule | kilojoule | kJ
energy | watt_hour | watt hour | Wh
energy | kilowatt_hour | kilowatt hour | kWh
energy | megawatt_hour | megawatt hour | MWh
energy | btu | btu | BTU
energy | kilobtu | kilobtu | kBTU
energy | megabtu | megabtu | MBTU | MMBTU
energy | horsepower_hour | horsepower hour | hph
energy | calorie | calorie | cal
energy | therm | therm | therm
energy | tons_refrigeration_hour | tons refrigeration hour | tonrefh
energy | megajoule | megajoule | MJ
energy | gigajoule | gigajoule | GJ
energy | newton_meter | newton meter | Nm
energy | cubic_meters_natural_gas | cubic meters natural gas | m³_gas
energy | cubic_feet_natural_gas | cubic feet natural gas | ft³_gas
apparent energy | volt_ampere_hour | volt ampere hour | VAh
apparent energy | kilovolt_ampere_hour | kilovolt ampere hour | kVAh
apparent energy | megavolt_ampere_hour | megavolt ampere hour | MVAh
reactive energy | volt_ampere_reactive_hour | volt ampere reactive hour | VARh
reactive energy | kilovolt_ampere_reactive_hour | kilovolt ampere reactive hour | kVARh
reactive energy | megavolt_ampere_reactive_hour | megavolt ampere reactive hour | MVARh
energy by area | joules_per_square_meter | joules per square meter | J/m²
energy by area | kilowatt_hours_per_square_meter | kilowatt hours per square meter | kWh/m²
energy by area | kilowatt_hours_per_square_foot | kilowatt hours per square foot | kWh/ft²
energy by area | megajoules_per_square_meter | megajoules per square meter | MJ/m²
energy by area | megajoules_per_square_foot | megajoules per square foot | MJ/ft²
energy by area | kilobtu_per_square_foot | kilobtu per square foot | kBTU/ft²
energy by area | megabtu_per_square_foot | megabtu per square foot | MBTU/ft²
enthalpy | joules_per_gram | joules per gram | J/g
enthalpy | joules_per_kilogram | joules per kilogram | J/kg
enthalpy | joules_per_kilogram_dry_air | joules per kilogram dry air | J/kg_dry
enthalpy | btu_per_pound | btu per pound | BTU/lb
enthalpy | btus_per_pound_dry_air | btus per pound dry air | btu/lb_dry
enthalpy | kilojoules_per_kilogram | kilojoules per kilogram | kJ/kg
enthalpy | kilojoules_per_kilogram_dry_air | kilojoules per kilogram dry air | kJ/kg_dry
enthalpy | megajoules_per_kilogram_dry_air | megajoules per kilogram dry air | MJ/kg_dry
enthalpy | calorie_per_gram | calorie per gram | cal/g
entropy | joules_per_degree_kelvin | joules per degree kelvin | J/°K
entropy | kilojoules_per_degree_kelvin | kilojoules per degree kelvin | kJ/°K
entropy | megajoules_per_degree_kelvin | megajoules per degree kelvin | MJ/°K
force | newton | newton | N
force | pound_force | pound force | lbf
frequency | hertz | hertz | Hz
frequency | kilohertz | kilohertz | kHz
frequency | cycles_per_hour | cycles per hour | cph
frequency | cycles_per_minute | cycles per minute | cpm
frequency | megahertz | megahertz | MHz
frequency | per_minute | per minute | /min
frequency | per_second | per second | /s
frequency | per_hour | per hour | /h
frequency | percent_per_second | percent per second | %/s
grammage | kilograms_per_square_meter | kilograms per square meter | kg/m²
grammage | grams_per_square_meter | grams per square meter | g/m²
heating rate | degrees_kelvin_per_second | degrees kelvin per second | K/s
heating rate | degrees_celsius_per_hour | degrees celsius per hour | °C/h
heating rate | degrees_celsius_per_minute | degrees celsius per minute | °C/min
heating rate | degrees_fahrenheit_per_hour | degrees fahrenheit per hour | °F/h
heating rate | degrees_fahrenheit_per_minute | degrees fahrenheit per minute | °F/min
heating rate | degrees_kelvin_per_hour | degrees kelvin per hour | K/h
heating rate | degrees_kelvin_per_minute | degrees kelvin per minute | K/min
illuminance | lux | lux | lx
illuminance | kilolux | klux | klx |  | NL: Added
illuminance | candelas_per_square_meter | candelas per square meter | cd/m²
inductance | henry | henry | H
irradiance | watts_per_square_meter_irradiance | watts per square meter irradiance | W/m²_irr
irradiance | watts_per_square_foot_irradiance | watts per square foot irradiance | W/ft²_irr
length | meter | meter | m
length | micrometer | micrometer | um
length | millimeter | millimeter | mm
length | centimeter | centimeter | cm
length | kilometer | kilometer | km
length | inch | inch | in
length | foot | foot | ft
length | yard | yard | yd
length | mile | mile | mile
luminescence | candela | candela | cd
luminescence | footcandle | footcandle | ftcd
luminous flux | lumen | lumen | lm
magnetic field strength | amperes_per_meter | amperes per meter | A/m
magnetic flux | weber | weber | Wb
magnetic flux density | tesla | tesla | T
mass | kilogram | kilogram | kg
mass | milligram | milligram | mg
mass | gram | gram | g
mass | ounce | ounce | oz
mass | pound | pound | lb
mass | metric_ton | metric ton | ton
mass | short_ton | short ton | t
mass flow | kilograms_per_second | kilograms per second | kg/s
mass flow | kilograms_per_minute | kilograms per minute | kg/min
mass flow | kilograms_per_hour | kilograms per hour | kg/h
mass flow | pounds_per_minute | pounds per minute | lb/min
mass flow | pounds_per_hour | pounds per hour | lb/h
mass flow | pounds_per_second | pounds per second | lb/s
mass flow | grams_per_second | grams per second | g/s
mass flow | grams_per_minute | grams per minute | g/min
mass flow | metric_tons_per_hour | metric tons per hour | ton/h
momentum | newton_second | newton second | Ns
power | watt | watt | W
power | milliwatt | milliwatt | mW
power | kilowatt | kilowatt | kW
power | megawatt | megawatt | MW
power | gigawatt | gigawatt | GW
power | btus_per_hour | btus per hour | BTU/h
power | horsepower | horsepower | hp
power | foot_pounds_per_second | foot pounds per second | ftlbs/sec
power | tons_refrigeration | tons refrigeration | tonref
power | kilobtus_per_hour | kilobtus per hour | kBTU/h
power | joules_per_hour | joules per hour | J/h
power | kilojoules_per_hour | kilojoules per hour | kJ/h
power | megajoules_per_hour | megajoules per hour | MJ/h
power by area | watts_per_square_meter | watts per square meter | W/m²
power by area | watts_per_square_foot | watts per square foot | W/ft²
power by area | kilowatts_per_square_meter | kilowatts per square meter | kW/m²
power by area | kilowatts_per_square_foot | kilowatts per square foot | kW/ft²
power by area | kilobtus_per_hour_per_square_foot | kilobtus per hour per square foot | kBTU/h/ft²
power by volumetric flow | watts_per_cubic_meters_per_second | watts per cubic meters per second | W/m³/s
power by volumetric flow | watts_per_cubic_feet_per_minute | watts per cubic feet per minute | W/cfm
power by volumetric flow | kilowatts_per_kilocubic_feet_per_minute | kilowatts per kilocubic feet per minute | kW/kcfm
power by volumetric flow | kilowatts_per_gallons_per_minute | kilowatts per gallons per minute | kW/gal/min
apparent power | volt_ampere | volt ampere | VA
apparent power | kilovolt_ampere | kilovolt ampere | kVA
apparent power | megavolt_ampere | megavolt ampere | mVA
reactive power | volt_ampere_reactive | volt ampere reactive | VAR
reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR
reactive power | megavolt_ampere_reactive | megavolt ampere reactive | MVAR
pressure | pascal | pascal | Pa
pressure | kilopascal | kilopascal | kPa
pressure | bar | bar | bar
pressure | atmosphere | atmosphere | atm
pressure | pounds_per_square_inch | pounds per square inch | psi
pressure | centimeters_of_water | centimeters of water | cmH₂O
pressure | inches_of_water | inches of water | inH₂O
pressure | millimeters_of_mercury | millimeters of mercury | mmHg
pressure | centimeters_of_mercury | centimeters of mercury | cmHg
pressure | inches_of_mercury | inches of mercury | inHg
pressure | hectopascal | hectopascal | hPa
pressure | millibar | millibar | mbar
specific entropy | joules_per_kilogram_degree_kelvin | joules per kilogram degree kelvin | J/kg°K
surface tension | newtons_per_meter | newtons per meter | N/m
temperature | fahrenheit | fahrenheit | °F
temperature | celsius | celsius | °C
temperature | kelvin | kelvin | K
temperature differential | fahrenheit_degrees | fahrenheit degrees | Δ°F
temperature differential | celsius_degrees | celsius degrees | Δ°C
temperature differential | kelvin_degrees | kelvin degrees | ΔK
thermal conductivity | watts_per_meter_degree_kelvin | watts per meter degree kelvin | W/m°K
time | nanosecond | nanosecond | ns
time | microsecond | microsecond | us
time | millisecond | millisecond | ms
time | hundredths_second | hundredths second | cs
time | tenths_second | tenths second | ds
time | second | second | sec | s
time | minute | minute | min
time | hour | hour | hr | h
time | day | day | day
time | week | week | wk
time | julian_month | julian month | mo
time | year | year | yr
velocity | meters_per_second | meters per second | m/s
velocity | kilometers_per_second | kilometers per second | km/s
velocity | kilometers_per_hour | kilometers per hour | km/h
velocity | miles_per_hour | miles per hour | mph
velocity | feet_per_second | feet per second | ft/s
velocity | feet_per_minute | feet per minute | ft/min
velocity | millimeters_per_second | millimeters per second | mm/s
velocity | millimeters_per_minute | millimeters per minute | mm/min
velocity | meters_per_minute | meters per minute | m/min
velocity | meters_per_hour | meters per hour | m/h
velocity | knot | knot | knot
volume | cubic_meter | cubic meter | m³
volume | cubic_millimeter | cubic millimeter | mm³
volume | cubic_centimeter | cubic centimeter | cm³
volume | milliliter | milliliter | mL
volume | liter | liter | L
volume | kiloliter | kiloliter | kL
volume | cubic_inch | cubic inch | in³
volume | cubic_foot | cubic foot | ft³
volume | cubic_yard | cubic yard | yd³
volume | gallon | gallon | gal
volume | quart | quart | qt
volume | pint | pint | pt
volume | fluid_ounce | fluid ounce | fl_oz
volume | imperial_gallon | imperial gallon | galUK
volumetric flow | cubic_meters_per_second | cubic meters per second | m³/s
volumetric flow | milliliters_per_second | milliliters per second | mL/s
volumetric flow | liters_per_second | liters per second | L/s
volumetric flow | cubic_feet_per_second | cubic feet per second | cfs
volumetric flow | cubic_feet_per_minute | cubic feet per minute | cfm
volumetric flow | kilocubic_feet_per_minute | kilocubic feet per minute | kcfm
volumetric flow | imperial_gallons_per_minute | imperial gallons per minute | galUK/min
volumetric flow | liters_per_minute | liters per minute | L/min
volumetric flow | gallons_per_minute | gallons per minute | gal/min
volumetric flow | cubic_meters_per_hour | cubic meters per hour | m³/h
volumetric flow | liters_per_hour | liters per hour | L/h
volumetric flow | cubic_meters_per_minute | cubic meters per minute | m³/min
bytes | byte | byte | byte
bytes | kilobyte | kilobyte | kB
bytes | megabyte | megabyte | MB
bytes | gigabyte | gigabyte | GB
bytes | terabyte | terabyte | TB
bytes | petabyte | petabyte | PB
undefined | undefined | undefined | undefined |  | NL: Added
state | on_off | binary | on/off |  | NL: Added