## nrel_units
nrel_unit | nrel_count | unit_type | machine_name | display_name | symbol | symbol_alt | note | is it SI? | conversion
amperes | 1363 | electric current | ampere | ampere | A |  |  | TRUE
btus | 20 | energy | btu | btu | BTU |  |  | FALSE
btus per hour | 28 | power | btus_per_hour | btus per hour | BTU/h |  |  | FALSE
btus per pound | 1 | enthalpy | btu_per_pound | btu per pound | BTU/lb |  |  | FALSE
C | 2 | temperature | celsius | celsius | °C |  |  | TRUE
cubic feet per minute | 3488 | volumetric flow | cubic_feet_per_minute | cubic feet per minute | cfm |  |  | FALSE
degrees angular | 570 | dimensionless | degrees_angular | degrees angular | deg |  |  | TRUE
degrees celsius | 188 | temperature | celsius | celsius | °C |  |  | TRUE
degrees fahrenheit | 9747 | temperature | fahrenheit | fahrenheit | °F |  | Verify that this is not temperature differential | FALSE
feet per minute | 31 | velocity | feet_per_minute | feet per minute | ft/min |  |  | FALSE
grams of water per kilogram dry air | 1 | dimensionless | grams_of_water_per_kilogram_dry_air | grams of water per kilogram dry air | gH₂O/kgAir |  |  | TRUE
hertz | 462 | frequency | hertz | hertz | Hz |  |  | TRUE
hours | 161 | time | hour | hour | hr | h |  | TRUE
imperial gallons per minute | 1 | volumetric flow | imperial_gallons_per_minute | imperial gallons per minute | galUK/min |  |  | FALSE
inches | 392 | length | inch | inch | in |  |  | FALSE
inches of water | 424 | pressure | inches_of_water | inches of water | inH₂O |  |  | FALSE
kilovolt amperes | 37 | apparent power | kilovolt_ampere | kilovolt ampere | kVA |  |  | TRUE
kilovolt amperes reactive | 61 | reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR |  |  | TRUE
kilowatt hours | 209 | energy | kilowatt_hour | kilowatt hour | kWh |  |  | TRUE
kilowatts | 258 | power | kilowatt | kilowatt | kW |  |  | TRUE
klux | 1 | illuminance | kilolux | klux | klx |  |  | TRUE
kW | 359 | power | kilowatt | kilowatt | kW |  |  | TRUE
kw | 0 | power | kilowatt | kilowatt | kW |  |  | TRUE
kW/m^2 | 1 | power by area | kilowatts_per_square_meter | kilowatts per square meter | kW/m² |  |  | TRUE
kwH | 0 | energy | kilowatt_hour | kilowatt hour | kWh |  |  | TRUE
kWh | 92 | energy | kilowatt_hour | kilowatt hour | kWh |  |  | TRUE
kVA | 0 | apparent power | kilovolt_ampere | kilovolt ampere | kVA |  |  | TRUE
kVAR | 0 | reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR |  |  | TRUE
m | 1 | length | meter | meter | m |  |  | TRUE
mBar | 1 | pressure | millibar | millibar | mbar |  |  | FALSE
megawatt hours | 37 | energy | megawatt_hour | megawatt hour | MWh |  |  | TRUE
miles per hour | 4 | velocity | miles_per_hour | miles per hour | mph |  |  | FALSE
milliamperes | 73 | electric current | milliampere | milliampere | mA |  |  | TRUE
millibars | 1 | pressure | millibar | millibar | mbar |  |  | FALSE
minutes | 806 | time | minute | minute | min |  |  | TRUE
mm | 1 | length | millimeter | millimeter | mm |  |  | TRUE
null | 19418 | undefined | undefined | undefined | undefined |  |  | TRUE
on/off | 0 | state | on_off | binary | on/off |  |  | TRUE
parts per million | 875 | dimensionless | parts_per_million | parts per million | ppm |  |  | TRUE
per hour | 1 | frequency | per_minute | per minute | /min |  |  | TRUE
per minute | 1 | frequency | per_hour | per hour | /h |  |  | TRUE
percent | 7056 | dimensionless | percent | percent | % |  |  | TRUE
percent relative humidity | 246 | dimensionless | percent_relative_humidity | percent relative humidity | %RH |  |  | TRUE
percentage | 328 | dimensionless | percent | percent | % |  |  | TRUE
pounds force per square inch | 199 | pressure | pounds_per_square_inch | pounds per square inch | psi |  |  | FALSE
pounds mass per minute | 2 | mass flow | pounds_per_minute | pounds per minute | lb/min |  |  | FALSE
power factor | 366 | dimensionless | power_factor | power factor | pf |  |  | TRUE
pf | 366 | dimensionless | power_factor | power factor | pf |  |  | TRUE
revolutions per minute | 56 | angular velocity | revolutions_per_minute | revolutions per minute | rpm |  |  | TRUE
seconds | 2793 | time | second | second | sec | s |  | TRUE
square feet | 2 | area | square_foot | square foot | ft² |  |  | FALSE
square meters | 6 | area | square_meter | square meter | m² |  |  | TRUE
ton hours | 2 | energy | tons_refrigeration_hour | tons refrigeration hour | tonrefh |  |  | FALSE
tons | 4 | mass | short_ton | short ton | t |  |  | FALSE
Unknown: 10259 | 2 | undefined | undefined | undefined | undefined |  |  | TRUE
Unknown: 256 | 1 | undefined | undefined | undefined | undefined |  |  | TRUE
us gallons | 31 | volume | gallon | gallon | gal |  |  | FALSE
us gallons per minute | 85 | volumetric flow | gallons_per_minute | gallons per minute | gal/min |  |  | FALSE
VA | 82 | apparent power | volt_ampere | volt ampere | VA |  |  | TRUE
VAR | 82 | reactive power | volt_ampere_reactive | volt ampere reactive | VAR |  |  | TRUE
volt amperes | 324 | apparent power | volt_ampere | volt ampere | VA |  |  | TRUE
volt amperes reactive | 324 | reactive power | volt_ampere_reactive | volt ampere reactive | VAR |  |  | TRUE
volts | 1235 | electric potential | Volt | Volt | V |  |  | TRUE
W/m^2 | 3 | power by area | watts_per_square_meter | watts per square meter | W/m² |  |  | TRUE
watt hours | 678 | energy | watt_hour | watt hour | Wh |  |  | TRUE
watts | 429 | power | watt | watt | W |  |  | TRUE
Wh | 82 | energy | watt_hour | watt hour | Wh |  |  | TRUE

## haystack_definitions
Unit Type | Machine Name | Name | Symbol | Symbol Alias | Notes | allowable | conversion
dimensionless | percent | percent | % |  |  | TRUE
dimensionless | pixel | pixel | px |  |  | TRUE
dimensionless | decibel | decibel | db |  |  | TRUE
dimensionless | power_factor | power factor | pf |  |  | TRUE
dimensionless | pH | pH | pH |  |  | TRUE
dimensionless | percent_relative_humidity | percent relative humidity | %RH |  |  | TRUE
dimensionless | grams_of_water_per_kilogram_dry_air | grams of water per kilogram dry air | gH₂O/kgAir |  |  | TRUE
dimensionless | volts_per_degree_kelvin | volts per degree kelvin | V/K |  |  | TRUE
dimensionless | degree_days_celsius | degree days celsius | °daysC |  |  | TRUE
dimensionless | degree_days_fahrenheit | degree days fahrenheit | °daysF |  |  | FALSE
dimensionless | percent_obscuration_per_foot | percent obscuration per foot | %obsc/ft |  |  | FALSE
dimensionless | percent_obscuration_per_meter | percent obscuration per meter | %obsc/m |  |  | TRUE
dimensionless | psi_per_degree_fahrenheit | psi per degree fahrenheit | psi/°F |  |  | FALSE
dimensionless | square_meters_per_newton | square meters per newton | m²/N |  |  | TRUE
dimensionless | watts_per_square_meter_degree_kelvin | watts per square meter degree kelvin | W/m²K |  |  | TRUE
dimensionless | ampere_square_meter | ampere square meter | Am² |  |  | TRUE
dimensionless | db_milliVolt | db milliVolt | dBmV |  |  | TRUE
dimensionless | db_microVolt | db microVolt | dBuV |  |  | TRUE
dimensionless | parts_per_unit | parts per unit | ppu |  |  | TRUE
dimensionless | parts_per_million | parts per million | ppm |  |  | TRUE
dimensionless | parts_per_billion | parts per billion | ppb |  |  | TRUE
dimensionless | grams_per_kilogram | grams per kilogram | g/kg |  |  | TRUE
dimensionless | radian | radian | rad |  |  | TRUE
dimensionless | degrees_angular | degrees angular | deg |  |  | TRUE
dimensionless | degrees_phase | degrees phase | degPh |  |  | TRUE
dimensionless | steradian | steradian | sr |  |  | TRUE
dimensionless | nephelometric_turbidity_units | nephelometric turbidity units | ntu |  |  | TRUE
dimensionless | formazin_nephelometric_unit | formazin nephelometric unit | fnu |  |  | TRUE
dimensionless | percent_opaque_cloud_cover | percent opaque cloud cover | % |  | NL: added | TRUE
dimensionless | percent_total_cloud_cover | percent total cloud cover | % |  | NL: added | TRUE
currency | australian_dollar | australian dollar | AUD |  |  | TRUE
currency | british_pound | british pound | GBP | £ |  | TRUE
currency | canadian_dollar | canadian dollar | CAD |  |  | TRUE
currency | chinese_yuan | chinese yuan | CNY | 元 |  | TRUE
currency | euro | euro | EUR | € |  | TRUE
currency | indian_rupee | indian rupee | INR |  |  | TRUE
currency | japanese_yen | japanese yen | JPY | ¥ |  | TRUE
currency | russian_ruble | russian ruble | RUB | руб |  | TRUE
currency | south_korean_won | south korean won | KRW | ₩ |  | TRUE
currency | swedish_krona | swedish krona | SEK | kr |  | TRUE
currency | swiss_franc | swiss franc | CHF | Fr |  | TRUE
currency | taiwan_dollar | taiwan dollar | TWD |  |  | TRUE
currency | us_dollar | us dollar | USD | $ |  | TRUE
acceleration | meters_per_second_squared | meters per second squared | m/s² |  |  | TRUE
angular acceleration | radians_per_second_squared | radians per second squared | rad/s² |  |  | TRUE
angular momentum | joule_second | joule second | Js |  |  | TRUE
angular velocity | radians_per_second | radians per second | rad/s |  |  | TRUE
angular velocity | revolutions_per_minute | revolutions per minute | rpm |  |  | TRUE
area | square_meter | square meter | m² |  |  | TRUE
area | square_millimeter | square millimeter | mm² |  |  | TRUE
area | square_centimeter | square centimeter | cm² |  |  | TRUE
area | square_kilometer | square kilometer | km² |  |  | TRUE
area | square_inch | square inch | in² |  |  | FALSE
area | square_foot | square foot | ft² |  |  | FALSE
area | square_yard | square yard | yd² |  |  | FALSE
area | square_mile | square mile | mile² |  |  | FALSE
area | acre | acre | acre |  |  | FALSE
capacitance | farad | farad | F |  |  | TRUE
cooling efficiency | coefficient_of_performance | coefficient of performance | COP |  |  | TRUE
cooling efficiency | kilowatt_per_ton | kilowatt per ton | kW/ton |  |  | TRUE
cooling efficiency | energy_efficiency_ratio | energy efficiency ratio | Btu/Wh | EER |  | FALSE
density | kilograms_per_cubic_meter | kilograms per cubic meter | kg/m³ |  |  | TRUE
electric charge | coulomb | coulomb | C |  |  | TRUE
electric conductance | siemens | siemens | S |  |  | TRUE
electric current | ampere | ampere | A |  |  | TRUE
electric current | milliampere | milliampere | mA |  |  | TRUE
electric current density | amperes_per_square_meter | amperes per square meter | A/m² |  |  | TRUE
electric field strength | volts_per_meter | volts per meter | V/m |  |  | TRUE
electric potential | Volt | Volt | V |  |  | TRUE
electric potential | milliVolt | milliVolt | mV |  |  | TRUE
electric potential | kiloVolt | kiloVolt | kV |  |  | TRUE
electric potential | megaVolt | megaVolt | MV |  |  | TRUE
electric resistance | ohm | ohm | Ω | Ω |  | TRUE
electric resistance | kilohm | kilohm | kΩ | kΩ |  | TRUE
electric resistance | megohm | megohm | MΩ | MΩ |  | TRUE
electric resistance | milliohm | milliohm | mΩ | mΩ |  | TRUE
electrical conductivity | siemens_per_meter | siemens per meter | S/m |  |  | TRUE
electrical resistivity | ohm_meter | ohm meter | Ωm | Ωm |  | TRUE
energy | joule | joule | J |  |  | TRUE
energy | kilojoule | kilojoule | kJ |  |  | TRUE
energy | watt_hour | watt hour | Wh |  |  | TRUE
energy | kilowatt_hour | kilowatt hour | kWh |  |  | TRUE
energy | megawatt_hour | megawatt hour | MWh |  |  | TRUE
energy | btu | btu | BTU |  |  | FALSE
energy | kilobtu | kilobtu | kBTU |  |  | FALSE
energy | megabtu | megabtu | MBTU | MMBTU |  | FALSE
energy | horsepower_hour | horsepower hour | hph |  |  | FALSE
energy | calorie | calorie | cal |  |  | TRUE
energy | therm | therm | therm |  |  | FALSE
energy | tons_refrigeration_hour | tons refrigeration hour | tonrefh |  |  | TRUE
energy | megajoule | megajoule | MJ |  |  | TRUE
energy | gigajoule | gigajoule | GJ |  |  | TRUE
energy | newton_meter | newton meter | Nm |  |  | TRUE
energy | cubic_meters_natural_gas | cubic meters natural gas | m³_gas |  |  | TRUE
energy | cubic_feet_natural_gas | cubic feet natural gas | ft³_gas |  |  | FALSE
apparent energy | volt_ampere_hour | volt ampere hour | VAh |  |  | TRUE
apparent energy | kilovolt_ampere_hour | kilovolt ampere hour | kVAh |  |  | TRUE
apparent energy | megavolt_ampere_hour | megavolt ampere hour | MVAh |  |  | TRUE
reactive energy | volt_ampere_reactive_hour | volt ampere reactive hour | VARh |  |  | TRUE
reactive energy | kilovolt_ampere_reactive_hour | kilovolt ampere reactive hour | kVARh |  |  | TRUE
reactive energy | megavolt_ampere_reactive_hour | megavolt ampere reactive hour | MVARh |  |  | TRUE
energy by area | joules_per_square_meter | joules per square meter | J/m² |  |  | TRUE
energy by area | kilowatt_hours_per_square_meter | kilowatt hours per square meter | kWh/m² |  |  | TRUE
energy by area | kilowatt_hours_per_square_foot | kilowatt hours per square foot | kWh/ft² |  |  | FALSE
energy by area | megajoules_per_square_meter | megajoules per square meter | MJ/m² |  |  | TRUE
energy by area | megajoules_per_square_foot | megajoules per square foot | MJ/ft² |  |  | FALSE
energy by area | kilobtu_per_square_foot | kilobtu per square foot | kBTU/ft² |  |  | FALSE
energy by area | megabtu_per_square_foot | megabtu per square foot | MBTU/ft² |  |  | FALSE
enthalpy | joules_per_gram | joules per gram | J/g |  |  | TRUE
enthalpy | joules_per_kilogram | joules per kilogram | J/kg |  |  | TRUE
enthalpy | joules_per_kilogram_dry_air | joules per kilogram dry air | J/kg_dry |  |  | TRUE
enthalpy | btu_per_pound | btu per pound | BTU/lb |  |  | FALSE
enthalpy | btus_per_pound_dry_air | btus per pound dry air | btu/lb_dry |  |  | FALSE
enthalpy | kilojoules_per_kilogram | kilojoules per kilogram | kJ/kg |  |  | TRUE
enthalpy | kilojoules_per_kilogram_dry_air | kilojoules per kilogram dry air | kJ/kg_dry |  |  | TRUE
enthalpy | megajoules_per_kilogram_dry_air | megajoules per kilogram dry air | MJ/kg_dry |  |  | TRUE
enthalpy | calorie_per_gram | calorie per gram | cal/g |  |  | TRUE
entropy | joules_per_degree_kelvin | joules per degree kelvin | J/°K |  |  | TRUE
entropy | kilojoules_per_degree_kelvin | kilojoules per degree kelvin | kJ/°K |  |  | TRUE
entropy | megajoules_per_degree_kelvin | megajoules per degree kelvin | MJ/°K |  |  | TRUE
force | newton | newton | N |  |  | TRUE
force | pound_force | pound force | lbf |  |  | FALSE
frequency | hertz | hertz | Hz |  |  | TRUE
frequency | kilohertz | kilohertz | kHz |  |  | TRUE
frequency | cycles_per_hour | cycles per hour | cph |  |  | TRUE
frequency | cycles_per_minute | cycles per minute | cpm |  |  | TRUE
frequency | megahertz | megahertz | MHz |  |  | TRUE
frequency | per_minute | per minute | /min |  |  | TRUE
frequency | per_second | per second | /s |  |  | TRUE
frequency | per_hour | per hour | /h |  |  | TRUE
frequency | percent_per_second | percent per second | %/s |  |  | TRUE
grammage | kilograms_per_square_meter | kilograms per square meter | kg/m² |  |  | TRUE
grammage | grams_per_square_meter | grams per square meter | g/m² |  |  | TRUE
heating rate | degrees_kelvin_per_second | degrees kelvin per second | K/s |  |  | TRUE
heating rate | degrees_celsius_per_hour | degrees celsius per hour | °C/h |  |  | TRUE
heating rate | degrees_celsius_per_minute | degrees celsius per minute | °C/min |  |  | TRUE
heating rate | degrees_fahrenheit_per_hour | degrees fahrenheit per hour | °F/h |  |  | FALSE
heating rate | degrees_fahrenheit_per_minute | degrees fahrenheit per minute | °F/min |  |  | FALSE
heating rate | degrees_kelvin_per_hour | degrees kelvin per hour | K/h |  |  | TRUE
heating rate | degrees_kelvin_per_minute | degrees kelvin per minute | K/min |  |  | TRUE
illuminance | lux | lux | lx |  |  | TRUE
illuminance | kilolux | klux | klx |  | NL: Added | TRUE
illuminance | candelas_per_square_meter | candelas per square meter | cd/m² |  |  | TRUE
inductance | henry | henry | H |  |  | TRUE
irradiance | watts_per_square_meter_irradiance | watts per square meter irradiance | W/m²_irr |  |  | TRUE
irradiance | watts_per_square_foot_irradiance | watts per square foot irradiance | W/ft²_irr |  |  | FALSE
length | meter | meter | m |  |  | TRUE
length | micrometer | micrometer | um |  |  | TRUE
length | millimeter | millimeter | mm |  |  | TRUE
length | centimeter | centimeter | cm |  |  | TRUE
length | kilometer | kilometer | km |  |  | TRUE
length | inch | inch | in |  |  | FALSE
length | foot | foot | ft |  |  | FALSE
length | yard | yard | yd |  |  | FALSE
length | mile | mile | mile |  |  | FALSE
luminescence | candela | candela | cd |  |  | TRUE
luminescence | footcandle | footcandle | ftcd |  |  | FALSE
luminous flux | lumen | lumen | lm |  |  | TRUE
magnetic field strength | amperes_per_meter | amperes per meter | A/m |  |  | TRUE
magnetic flux | weber | weber | Wb |  |  | TRUE
magnetic flux density | tesla | tesla | T |  |  | TRUE
mass | kilogram | kilogram | kg |  |  | TRUE
mass | milligram | milligram | mg |  |  | TRUE
mass | gram | gram | g |  |  | TRUE
mass | ounce | ounce | oz |  |  | FALSE
mass | pound | pound | lb |  |  | FALSE
mass | metric_ton | metric ton | ton |  |  | TRUE
mass | short_ton | short ton | t |  |  | FALSE
mass flow | kilograms_per_second | kilograms per second | kg/s |  |  | TRUE
mass flow | kilograms_per_minute | kilograms per minute | kg/min |  |  | TRUE
mass flow | kilograms_per_hour | kilograms per hour | kg/h |  |  | TRUE
mass flow | pounds_per_minute | pounds per minute | lb/min |  |  | FALSE
mass flow | pounds_per_hour | pounds per hour | lb/h |  |  | FALSE
mass flow | pounds_per_second | pounds per second | lb/s |  |  | FALSE
mass flow | grams_per_second | grams per second | g/s |  |  | TRUE
mass flow | grams_per_minute | grams per minute | g/min |  |  | TRUE
mass flow | metric_tons_per_hour | metric tons per hour | ton/h |  |  | TRUE
momentum | newton_second | newton second | Ns |  |  | TRUE
power | watt | watt | W |  |  | TRUE
power | milliwatt | milliwatt | mW |  |  | TRUE
power | kilowatt | kilowatt | kW |  |  | TRUE
power | megawatt | megawatt | MW |  |  | TRUE
power | gigawatt | gigawatt | GW |  |  | TRUE
power | btus_per_hour | btus per hour | BTU/h |  |  | FALSE
power | horsepower | horsepower | hp |  |  | FALSE
power | foot_pounds_per_second | foot pounds per second | ftlbs/sec |  |  | FALSE
power | tons_refrigeration | tons refrigeration | tonref |  |  | TRUE
power | kilobtus_per_hour | kilobtus per hour | kBTU/h |  |  | FALSE
power | joules_per_hour | joules per hour | J/h |  |  | TRUE
power | kilojoules_per_hour | kilojoules per hour | kJ/h |  |  | TRUE
power | megajoules_per_hour | megajoules per hour | MJ/h |  |  | TRUE
power by area | watts_per_square_meter | watts per square meter | W/m² |  |  | TRUE
power by area | watts_per_square_foot | watts per square foot | W/ft² |  |  | FALSE
power by area | kilowatts_per_square_meter | kilowatts per square meter | kW/m² |  |  | TRUE
power by area | kilowatts_per_square_foot | kilowatts per square foot | kW/ft² |  |  | FALSE
power by area | kilobtus_per_hour_per_square_foot | kilobtus per hour per square foot | kBTU/h/ft² |  |  | FALSE
power by volumetric flow | watts_per_cubic_meters_per_second | watts per cubic meters per second | W/m³/s |  |  | TRUE
power by volumetric flow | watts_per_cubic_feet_per_minute | watts per cubic feet per minute | W/cfm |  |  | FALSE
power by volumetric flow | kilowatts_per_kilocubic_feet_per_minute | kilowatts per kilocubic feet per minute | kW/kcfm |  |  | FALSE
power by volumetric flow | kilowatts_per_gallons_per_minute | kilowatts per gallons per minute | kW/gal/min |  |  | FALSE
apparent power | volt_ampere | volt ampere | VA |  |  | TRUE
apparent power | kilovolt_ampere | kilovolt ampere | kVA |  |  | TRUE
apparent power | megavolt_ampere | megavolt ampere | mVA |  |  | TRUE
reactive power | volt_ampere_reactive | volt ampere reactive | VAR |  |  | TRUE
reactive power | kilovolt_ampere_reactive | kilovolt ampere reactive | kVAR |  |  | TRUE
reactive power | megavolt_ampere_reactive | megavolt ampere reactive | MVAR |  |  | TRUE
pressure | pascal | pascal | Pa |  |  | TRUE
pressure | kilopascal | kilopascal | kPa |  |  | TRUE
pressure | bar | bar | bar |  |  | TRUE
pressure | atmosphere | atmosphere | atm |  |  | TRUE
pressure | pounds_per_square_inch | pounds per square inch | psi |  |  | FALSE
pressure | centimeters_of_water | centimeters of water | cmH₂O |  |  | TRUE
pressure | inches_of_water | inches of water | inH₂O |  |  | FALSE
pressure | millimeters_of_mercury | millimeters of mercury | mmHg |  |  | TRUE
pressure | centimeters_of_mercury | centimeters of mercury | cmHg |  |  | TRUE
pressure | inches_of_mercury | inches of mercury | inHg |  |  | FALSE
pressure | hectopascal | hectopascal | hPa |  |  | TRUE
pressure | millibar | millibar | mbar |  |  | TRUE
specific entropy | joules_per_kilogram_degree_kelvin | joules per kilogram degree kelvin | J/kg°K |  |  | TRUE
surface tension | newtons_per_meter | newtons per meter | N/m |  |  | TRUE
temperature | fahrenheit | fahrenheit | °F |  |  | FALSE
temperature | celsius | celsius | °C |  |  | TRUE
temperature | kelvin | kelvin | K |  |  | TRUE
temperature differential | fahrenheit_degrees | fahrenheit degrees | Δ°F |  |  | FALSE
temperature differential | celsius_degrees | celsius degrees | Δ°C |  |  | TRUE
temperature differential | kelvin_degrees | kelvin degrees | ΔK |  |  | TRUE
thermal conductivity | watts_per_meter_degree_kelvin | watts per meter degree kelvin | W/m°K |  |  | TRUE
time | nanosecond | nanosecond | ns |  |  | TRUE
time | microsecond | microsecond | us |  |  | TRUE
time | millisecond | millisecond | ms |  |  | TRUE
time | hundredths_second | hundredths second | cs |  |  | TRUE
time | tenths_second | tenths second | ds |  |  | TRUE
time | second | second | sec | s |  | TRUE
time | minute | minute | min |  |  | TRUE
time | hour | hour | hr | h |  | TRUE
time | day | day | day |  |  | TRUE
time | week | week | wk |  |  | TRUE
time | julian_month | julian month | mo |  |  | TRUE
time | year | year | yr |  |  | TRUE
velocity | meters_per_second | meters per second | m/s |  |  | TRUE
velocity | kilometers_per_second | kilometers per second | km/s |  |  | TRUE
velocity | kilometers_per_hour | kilometers per hour | km/h |  |  | TRUE
velocity | miles_per_hour | miles per hour | mph |  |  | FALSE
velocity | feet_per_second | feet per second | ft/s |  |  | FALSE
velocity | feet_per_minute | feet per minute | ft/min |  |  | FALSE
velocity | millimeters_per_second | millimeters per second | mm/s |  |  | TRUE
velocity | millimeters_per_minute | millimeters per minute | mm/min |  |  | TRUE
velocity | meters_per_minute | meters per minute | m/min |  |  | TRUE
velocity | meters_per_hour | meters per hour | m/h |  |  | TRUE
velocity | knot | knot | knot |  |  | FALSE
volume | cubic_meter | cubic meter | m³ |  |  | TRUE
volume | cubic_millimeter | cubic millimeter | mm³ |  |  | TRUE
volume | cubic_centimeter | cubic centimeter | cm³ |  |  | TRUE
volume | milliliter | milliliter | mL |  |  | TRUE
volume | liter | liter | L |  |  | TRUE
volume | kiloliter | kiloliter | kL |  |  | TRUE
volume | cubic_inch | cubic inch | in³ |  |  | FALSE
volume | cubic_foot | cubic foot | ft³ |  |  | FALSE
volume | cubic_yard | cubic yard | yd³ |  |  | FALSE
volume | gallon | gallon | gal |  |  | FALSE
volume | quart | quart | qt |  |  | FALSE
volume | pint | pint | pt |  |  | FALSE
volume | fluid_ounce | fluid ounce | fl_oz |  |  | FALSE
volume | imperial_gallon | imperial gallon | galUK |  |  | FALSE
volumetric flow | cubic_meters_per_second | cubic meters per second | m³/s |  |  | TRUE
volumetric flow | milliliters_per_second | milliliters per second | mL/s |  |  | TRUE
volumetric flow | liters_per_second | liters per second | L/s |  |  | TRUE
volumetric flow | cubic_feet_per_second | cubic feet per second | cfs |  |  | FALSE
volumetric flow | cubic_feet_per_minute | cubic feet per minute | cfm |  |  | FALSE
volumetric flow | kilocubic_feet_per_minute | kilocubic feet per minute | kcfm |  |  | FALSE
volumetric flow | imperial_gallons_per_minute | imperial gallons per minute | galUK/min |  |  | FALSE
volumetric flow | liters_per_minute | liters per minute | L/min |  |  | TRUE
volumetric flow | gallons_per_minute | gallons per minute | gal/min |  |  | FALSE
volumetric flow | cubic_meters_per_hour | cubic meters per hour | m³/h |  |  | TRUE
volumetric flow | liters_per_hour | liters per hour | L/h |  |  | TRUE
volumetric flow | cubic_meters_per_minute | cubic meters per minute | m³/min |  |  | TRUE
bytes | byte | byte | byte |  |  | TRUE
bytes | kilobyte | kilobyte | kB |  |  | TRUE
bytes | megabyte | megabyte | MB |  |  | TRUE
bytes | gigabyte | gigabyte | GB |  |  | TRUE
bytes | terabyte | terabyte | TB |  |  | TRUE
bytes | petabyte | petabyte | PB |  |  | TRUE
undefined | undefined | undefined | undefined |  | NL: Added | TRUE
state | on_off | binary | on/off |  | NL: Added | TRUE
none | none | none | none |  | KF: Added | TRUE